|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DIRECTIONS FOR CLEANING WHIRLPOOL | | | | NO. 536 | |
| The following are the directions for disinfecting the Penner Products Pacific model whirlpool tub in our spa room. The whirlpool and lift should be disinfected between residents.   1. Put on gloves and safety glasses. 2. Lower liftinto tub and with arms angled out. 3. Take disinfectant hose, turn on the disinfectant hand sprayer and spray the lift for 10-15 seconds. Use brush as needed. When complete, turn off the disinfectant and spray the lift with clean water for 10 – 15 seconds. 4. Take lift up and out of tub and wipe down with towel. 5. Use washcloth with disinfectant on it to wipe down handles and rim of tub. 6. Use fresh a washcloth wetted down with water and wipe off handles and rim of tub. 7. Push and hold ‘Disinfect – jets’ button until disinfectant flows from outlets 8. Spray down the tub with disinfectant. 9. Then push and hold ‘Rinse – jets’ button until clear water flows from outlets 10. Rinse tub with plain water sprayer and wipe down with towel. | | | | | |
| Approved: | Effective Date:  1/10 | Revision Date:  12/14; 3/17 | Change No.: | | Page:  1 of 1 |