**POLICY: QUALITY CONTROL FOR GLUCOMETER ELITE**

It is the policy of Winning Wheels, Inc. that quality of the Blood Glucose Monitoring System (Precision Xtra) is measured using the Check Strip and the Glucose Control Solution. According to the Department of Public Health, the manufacturer’s guidelines should be followed. The Precision Xtra states the following:

1) The Precision Xtra test strips and code strips, which checks meter function, must be used:

1. at least daily
2. after cleaning the meter
3. whenever the results are not consistent or when you think the results are not accurate

2) The Precision Xtra Control Solution, which is good for 90 days after opening, should be used:

1. at least once a week
2. when you feel results are not consistent
3. when you begin using a new package of Test Strips

Results of same will be recorded on the Quality Control Results Log (attached).